## NPV
Net Present Value - Tunnel Ventilation with MoJets
Illustrative calculations only |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
All costs exclude sales taxes
Project: |  | Unit | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fan operating time | 1800 | hours/year | Year | Procurement cost | 1: Fan installation cost; 2: Maintenance cost; 3: Energy cost; 4: Installed power cost; 6: Total; 7: Present Value; 8: NPV
Annual installed power cost (maximum demand tariff) | 120 | €/kW | 1 | 150000 | 1: 30000; 2: 7500; 3: 99900; 4: 66600; 6: 354000; 7: 354000; 8: 4183483.6356
Unit cost energy consumption | 0.1 | €/kWh | 2 |  | 2: 7875; 3: 104895; 4: 69930; 6: 182700; 7: 176521.7391
Installation cost 1 off MoJet | 2000 | € | 3 |  | 2: 8268.75; 3: 110139.75; 4: 73426.5; 6: 191835; 7: 179080.0252
Procurement cost 1 off MoJet | 10000 | € | 4 |  | 2: 8682.1875; 3: 115646.7375; 4: 77097.825; 6: 201426.75; 7: 181675.3879
Net present value discount rate | 3.5% | % | 5 |  | 2: 9116.2969; 3: 121429.0744; 4: 80952.7162; 6: 211498.0875; 7: 184308.3645
Inflation | 5% | % | 6 |  | 2: 9572.1117; 3: 127500.5281; 4: 85000.3521; 6: 222072.9919; 7: 186979.5002
Write-off period | 20 | Years | 7 |  | 2: 10050.7173; 3: 133875.5545; 4: 89250.3697; 6: 233176.6415; 7: 189689.3481
Number of MoJets | 15 | Units | 8 |  | 2: 10553.2532; 3: 140569.3322; 4: 93712.8881; 6: 244835.4735; 7: 192438.4691
Total power requirement per MoJet | 37 | kW | 9 |  | 2: 11080.9158; 3: 147597.7988; 4: 98398.5326; 6: 257077.2472; 7: 195227.4324
Yearly maintenance cost per fan | 500 | € | 10 |  | 2: 11634.9616; 3: 154977.6888; 4: 103318.4592; 6: 269931.1096; 7: 198056.8155
|  |  | 11 |  | 2: 12216.7097; 3: 162726.5732; 4: 108484.3821; 6: 283427.6651; 7: 200927.2041
Net present value of all costs within write-off period | 4183483.6356 | € | 12 |  | 2: 12827.5452; 3: 170862.9019; 4: 113908.6013; 6: 297599.0483; 7: 203839.1926
|  |  | 13 |  | 2: 13468.9224; 3: 179406.047; 4: 119604.0313; 6: 312479.0007; 7: 206793.3837
|  |  | 14 |  | 2: 14142.3686; 3: 188376.3493; 4: 125584.2329; 6: 328102.9508; 7: 209790.3893
|  |  | 15 |  | 2: 14849.487; 3: 197795.1668; 4: 131863.4445; 6: 344508.0983; 7: 212830.8297
|  |  | 16 |  | 2: 15591.9613; 3: 207684.9251; 4: 138456.6167; 6: 361733.5032; 7: 215915.3345
|  |  | 17 |  | 2: 16371.5594; 3: 218069.1714; 4: 145379.4476; 6: 379820.1784; 7: 219044.5423
|  |  | 18 |  | 2: 17190.1374; 3: 228972.6299; 4: 152648.42; 6: 398811.1873; 7: 222219.1008
|  |  | 19 |  | 2: 18049.6443; 3: 240421.2614; 4: 160280.841; 6: 418751.7467; 7: 225439.6675
|  |  | 20 |  | 2: 18952.1265; 3: 252442.3245; 4: 168294.883; 6: 439689.334; 7: 228706.9091
Net Present Value - Tunnel Ventilation with Conventional Jet Fans
Illustrative calculations only |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
All costs exclude sales taxes
Project: |  | Unit |  |  | 8: 0
Fan operating time | 1800 | hours/year | Year | Procurement cost | Fan installation cost | Maintenance cost | Energy cost | Installed power cost |  | Total | Present Value | NPV
Annual installed power cost (maximum demand tariff) | 120 | €/kW | 1 | 200000 | 40000 | 10000 | 133200 | 88800 |  | 472000 | 472000 | 5577978.1808
Unit cost energy consumption | 0.1 | €/kWh | 2 |  |  | 10500 | 139860 | 93240 |  | 243600 | 235362.3188
Installation cost 1 off jetfan | 2000 | € | 3 |  |  | 11025 | 146853 | 97902 |  | 255780 | 238773.3669
Procurement cost 1 off jetfan | 10000 | € | 4 |  |  | 11576.25 | 154195.65 | 102797.1 |  | 268569 | 242233.8505
Net present value discount rate | 3.5% | % | 5 |  |  | 12155.0625 | 161905.4325 | 107936.955 |  | 281997.45 | 245744.486
Inflation | 5% | % | 6 |  |  | 12762.8156 | 170000.7041 | 113333.8028 |  | 296097.3225 | 249306.0003
Write-off period | 20 | Years | 7 |  |  | 13400.9564 | 178500.7393 | 119000.4929 |  | 310902.1886 | 252919.1308
Number of jetfans | 20 | Units | 8 |  |  | 14071.0042 | 187425.7763 | 124950.5175 |  | 326447.2981 | 256584.6254
Total power requirement per jetfan | 37 | kW | 9 |  |  | 14774.5544 | 196797.0651 | 131198.0434 |  | 342769.663 | 260303.2432
Yearly maintenance cost per fan | 500 | € | 10 |  |  | 15513.2822 | 206636.9184 | 137757.9456 |  | 359908.1461 | 264075.7539
|  |  | 11 |  |  | 16288.9463 | 216968.7643 | 144645.8429 |  | 377903.5534 | 267902.9388
Net present value of all costs within write-off period | 5577978.1808 | € | 12 |  |  | 17103.3936 | 227817.2025 | 151878.135 |  | 396798.7311 | 271785.5901
|  |  | 13 |  |  | 17958.5633 | 239208.0626 | 159472.0418 |  | 416638.6676 | 275724.5117
|  |  | 14 |  |  | 18856.4914 | 251168.4658 | 167445.6438 |  | 437470.601 | 279720.5191
|  |  | 15 |  |  | 19799.316 | 263726.889 | 175817.926 |  | 459344.1311 | 283774.4396
|  |  | 16 |  |  | 20789.2818 | 276913.2335 | 184608.8223 |  | 482311.3376 | 287887.1127
|  |  | 17 |  |  | 21828.7459 | 290758.8952 | 193839.2634 |  | 506426.9045 | 292059.3897
|  |  | 18 |  |  | 22920.1832 | 305296.8399 | 203531.2266 |  | 531748.2497 | 296292.1345
|  |  | 19 |  |  | 24066.1923 | 320561.6819 | 213707.788 |  | 558335.6622 | 300586.2234
|  |  | 20 |  |  | 25269.502 | 336589.766 | 224393.1773 |  | 586252.4453 | 304942.5454
Net saving over operating period = | 1394494.5452 | €